# IBIS Heritage – Cartridge Case Analysis
Course Outline

Course Objectives: The IBIS Heritage Cartridge Case Analysis course is designed for crime laboratory technicians and firearms examiners who want to learn how to analyze cartridge case images using the IBIS system.

Course Description: Each module in this course includes a list of the learning objectives, a demonstration of the task on the IBIS software, a learning activity to practice the task, and review questions.

Course Prerequisites:

- Basic computer skills (Windows® environment)

- Basic firearms knowledge

Course Duration: 2.5 days

Delivery Method:  Instructor-led (classroom environment)

###### About This Course

- Course Overview

- Facilities

- Course Objectives

- Training Guide Components

Module 1:  The Correlation Process

- Correlations Overview

- Automatic Correlations

- Correlation Comparison Process

- Narrowing the Search

- Network Configuration

- Class Characteristics

- Event Type

- Correlation Filters

- Manual Correlations

- Module 2:  Managing the correlation list

- Correlation Requests List

- Managing the Correlation Request List

- Filtering the Database

- Class Characteristic Sarch

Module 3:  Cartridge Case Correlation Scores

- Cartridge Case Scores

- Printing Correlation Results

- Printing Detailed Information

- Interpreting Cartridge Case Scores

- Cartridge Case Image Analysis

- BRASSCATCHER MultiViewer

- BRASSCATCHER Side-by-Side Comparison Window

Module 4:  Recording Hits

- Overview of Hits

- Closing the Loop

- Exporting Exhibits

Module 5: System Back-Ups

- Types of Backup

- Backup Maintenance

###### Module 6: DART Reports

- Logging on

- Overview/Interface

- Generating Reports

- Creating Custom Reports

- Working with Reports

###### Module 7: System Back-Ups

- Module Objectives

- Types of Backup

- Backup Maintenance

###### Module 8: Administration

- Calibrating the Microscope

- IBIS System Logs

- IBIS BRASSCATCHER Calibration

- System Shut-Down and Re-Start

###### Module 9: DART Reports

- Logging on

- Overview/Interface

- Generating Reports

- Creating Custom Reports

- Working with Reports

- Exporting Reports